
**Spectrum details**

Project New project Spectrum name Spectrum 1

**Electron Image**


Image Width: 49.2 µm



**Acquisition conditions**

Acquisition time (s) 30.0 Process time 5

Accelerating voltage (kV) 15.0



**Quantification Settings**

Quantification method All elements (normalised)

Coating element None

**Summary results**


|  |  |  |  |
| --- | --- | --- | --- |
| Element | Weight % | Weight % σ | Atomic % |
| Silicon | 35.349 | 0.343 | 64.396 |
| Niobium | 64.651 | 0.343 | 35.604 |

**Spectrum details**

Project New project Spectrum name Spectrum 2

**Electron Image**


Image Width: 49.2 µm



**Acquisition conditions**

Acquisition time (s) 30.0 Process time 5

Accelerating voltage (kV) 15.0



**Quantification Settings**

Quantification method All elements (normalised)

Coating element None

**Summary results**


|  |  |  |  |
| --- | --- | --- | --- |
| Element | Weight % | Weight % σ | Atomic % |
| Silicon | 35.531 | 0.345 | 64.578 |
| Niobium | 64.469 | 0.345 | 35.422 |

**Spectrum details**

Project New project Spectrum name Spectrum 3

**Electron Image**


Image Width: 49.2 µm



**Acquisition conditions**

Acquisition time (s) 30.0 Process time 5

Accelerating voltage (kV) 15.0



**Quantification Settings**

Quantification method All elements (normalised)

Coating element None

**Summary results**


|  |  |  |  |
| --- | --- | --- | --- |
| Element | Weight % | Weight % σ | Atomic % |
| Silicon | 35.600 | 0.346 | 64.647 |
| Niobium | 64.400 | 0.346 | 35.353 |

**Spectrum details**

Project New project Spectrum name Spectrum 4

**Electron Image**


Image Width: 49.2 µm



**Acquisition conditions**

Acquisition time (s) 30.0 Process time 5

Accelerating voltage (kV) 15.0



**Quantification Settings**

Quantification method All elements (normalised)

Coating element None

**Summary results**


|  |  |  |  |
| --- | --- | --- | --- |
| Element | Weight % | Weight % σ | Atomic % |
| Silicon | 17.251 | 0.219 | 40.815 |
| Niobium | 82.749 | 0.219 | 59.185 |

**Spectrum details**

Project New project Spectrum name Spectrum 5

**Electron Image**


Image Width: 49.2 µm



**Acquisition conditions**

Acquisition time (s) 30.0 Process time 5

Accelerating voltage (kV) 15.0



**Quantification Settings**

Quantification method All elements (normalised)

Coating element None

**Summary results**


|  |  |  |  |
| --- | --- | --- | --- |
| Element | Weight % | Weight % σ | Atomic % |
| Silicon | 16.878 | 0.219 | 40.180 |
| Niobium | 83.122 | 0.219 | 59.820 |

**Spectrum details**

Project New project Spectrum name Spectrum 6

**Electron Image**


Image Width: 49.2 µm



**Acquisition conditions**

Acquisition time (s) 30.0 Process time 5

Accelerating voltage (kV) 15.0



**Quantification Settings**

Quantification method All elements (normalised)

Coating element None

**Summary results**


|  |  |  |  |
| --- | --- | --- | --- |
| Element | Weight % | Weight % σ | Atomic % |
| Silicon | 17.633 | 0.225 | 41.458 |
| Niobium | 82.367 | 0.225 | 58.542 |

**Spectrum details**

Project New project Spectrum name Spectrum 1

**Electron Image**


Image Width: 196.8 µm



**Acquisition conditions**

Acquisition time (s) 29.8 Process time 5

Accelerating voltage (kV) 15.0



**Quantification Settings**

Quantification method All elements (normalised)

Coating element None

**Summary results**


|  |  |  |  |
| --- | --- | --- | --- |
| Element | Weight % | Weight % σ | Atomic % |
| Silicon | 28.320 | 0.309 | 56.652 |
| Niobium | 71.680 | 0.309 | 43.348 |

**Spectrum details**

Project New project Spectrum name Spectrum 1

**Electron Image**


Image Width: 393.5 µm



**Acquisition conditions**

Acquisition time (s) 29.6 Process time 5

Accelerating voltage (kV) 15.0



**Quantification Settings**

Quantification method All elements (normalised)

Coating element None

**Summary results**


|  |  |  |  |
| --- | --- | --- | --- |
| Element | Weight % | Weight % σ | Atomic % |
| Silicon | 30.189 | 0.333 | 58.856 |
| Niobium | 69.811 | 0.333 | 41.144 |

**Spectrum details**

Project New project Spectrum name Spectrum 2

**Electron Image**

Image Width: 393.5 µm



**Acquisition conditions**

Acquisition time (s) 30.0 Process time 5

Accelerating voltage (kV) 15.0



**Quantification Settings**

Quantification method All elements (normalised)

Coating element None

**Summary results**


|  |  |  |  |
| --- | --- | --- | --- |
| Element | Weight % | Weight % σ | Atomic % |
| Silicon | 35.619 | 0.377 | 64.666 |
| Niobium | 64.381 | 0.377 | 35.334 |

**Spectrum details**

Project New project Spectrum name Spectrum 3

**Electron Image**


Image Width: 393.5 µm



**Acquisition conditions**

Acquisition time (s) 30.0 Process time 5

Accelerating voltage (kV) 15.0



**Quantification Settings**

Quantification method All elements (normalised)

Coating element None

**Summary results**


|  |  |  |  |
| --- | --- | --- | --- |
| Element | Weight % | Weight % σ | Atomic % |
| Silicon | 35.391 | 0.374 | 64.438 |
| Niobium | 64.609 | 0.374 | 35.562 |

**Spectrum details**

Project New project Spectrum name Spectrum 4

**Electron Image**


Image Width: 393.5 µm



**Acquisition conditions**

Acquisition time (s) 30.0 Process time 5

Accelerating voltage (kV) 15.0



**Quantification Settings**

Quantification method All elements (normalised)

Coating element None

**Summary results**

|  |  |  |  |
| --- | --- | --- | --- |
| Element | Weight % | Weight % σ | Atomic % |
| Silicon | 36.331 | 0.393 | 65.369 |
| Niobium | 63.669 | 0.393 | 34.631 |